## Slide 1: Learn Factory integration Digital Transformation for Hydraulic Systems

## Slide 2
Extract
Are there
messages
From the
broker?
Transform
Load
Extraction
Transformation
Load
Docker Extract
SOLACE BROKER
Docker Dagster
Orchestrator
Re connection Extract
No
Yes
Docker Transform
Docker Solace
Data Base (cloud)
Docker DB
Docker Load
This is a standard product that can be used by any user with basic configurations to transfer data from any Control X to a database, which can be either physical or cloud-based.

## Slide 3
Why?
PLC Condition = Threshold
T/2
T = 60days
Temperature
Time
Data Base = History > Year
User
AI Model
Anomaly Behavior
15% Variation 25% Variation
Models learn from complete trends not points
Every 10 seconds
Daily
Monthly

## Slide 4
In an hydraulic Application
Time
K
Relief Valves
K=
2%
3%
4%
4%
4%
17%
Replacement
at 20%
+
+
+
+
Current K
History of normal behavior
User

## Slide 5: Target: Enable the Automax 105# to have the same analysis and monitoring capabilities as the Learn Factory.
No data storage
No historical analysis
Monitoring based on hard-coded PLC conditions
Integration

## Slide 6: Learn Factory integration Paper/Thesis: From Rule-Based PLC Monitoring to AI-Driven Anomaly Detection in Hydraulic Systems

## Slide 7: Thank you!